Emergency Action Plan

This sample emergency action plan has been prepared to provide assistance in compliance with OSHA standard 1910.38.  It should not be used without consideration of the unique conditions and requirements at each site.  It may be necessary to modify the sample program for your specific needs.  You remain under the obligation to comply with all applicable standards, and use of this program should not be considered to be a guarantee that this compliance will be achieved.  It is suggest that your final emergency action plan is reviewed by a qualified person.

If additional assistance is needed, it can be supplied at no cost by contacting Safe State upon request at the toll free number 1-800-452-5928.

EMERGENCY ACTION PLAN

Current Date_______________

Company Name_______________________________________________

Address______________________________________________________

Address______________________________________________________

Phone Number_________________________________________________

EMERGENCY ACTION PLAN

The intent of the plan is to ensure all employees a safe and healthful working environment.  Those employees assigned specific emergency duties under the plan should be provided the necessary training and protective equipment to ensure their safety.

ELEMENTS OF THE PLAN

I.	Preferred Means of Reporting Fire and Emergencies

All fires and emergencies will be reported by one of the following means:

a.	Verbally to the Coordinator if during standard work hours

b.	By telephone if after hours or on weekends

c.	By the alarm system 24 hours a day

d.	Public address system

e.	The following numbers will be posted at all telephones having outside lines:

FIRE 			______________

POLICE 		______________

SHERIFF 		______________

AMBULANCE	______________

COMPANY NAME AND ADDRESS/LOCATION

___________________________________________________________

II.	Alarm System Requirements

Alarm system requirements for notifying all employees in an emergency are the following:

a.	Provides warning for safe escape

b.	Can be perceived by all employees

c.	Alarm is distinctive and recognizable

d.	Employees are properly trained

e.	Emergency telephone numbers posted

f.	Emergency alarms have priority

g.	Alarm system is maintained properly by trained personnel

IV.	Evacuation Plans

Emergency evacuation escape route plans (see appendix A) are posted in key areas throughout the buildings.  All employees have been trained concerning these plans and should also be familiar with the evacuation plans for the other buildings within the company.

V.	Employee Accountability Procedures After Evacuation

In the event of a fire emergency signaled by either the ______________ or the building alarm system, all occupants will promptly exit the building by the nearest exit.  Once clear of the building, go to the designated point and immediately report to their supervisor.  After evacuation, each supervisor (or designee) is responsible for accounting for each employee assigned to that supervisor by rallying at the designated point and by conducting a head count.  Each employee will be accounted for by name.  Each employee is responsible for reporting to his or her supervisor so an accurate head count can be made.  All supervisors are required to report their head count (by Name) to the Emergency Plan Coordinator.

Designated Rallying Points

Building 1	Primary location: 		_____________________________

Secondary location: 	___________________________

Building 2	Primary location:		 _____________________________

Secondary location: 	___________________________

Building 3	Primary location:		 _____________________________

Secondary location: 	___________________________

VI. 	Re-entry

Once the building is evacuated, no one is to re-enter the building for any reason.  Rescue personnel (if designated and properly trained) are excluded from this rule.  When the Fire Department or other responsible agency has notifies us the building is safe for re-entry, then, and only then, will personnel return to their workstations.

VIII	Training for Employees

Employee training is provided when: (a) the plan is initiated; (b)	when employee's required actions and responsibilities change; (c) there are any changes to the plan; (d) initially for new employees; (e) refresher training.

Items Reviewed:

a.	Emergency Escape Procedures

b.	Escape Route Assignments

c.	Fire Extinguisher Locations and Training

d.	Procedures to Account for Employees

e.	Major Workplace Fire Hazards

f.	Employee Training Programs

g.	Fire Prevention Practices

h.	Closing doors behind you

i.	Means of Reporting Fire and Other Emergencies Names and Titles of Emergency Plan and Fire Protection Coordinators

k.	Alarm Systems

1.	Proper Housekeeping

m.	Emergency and Fire Prevention Plan Availability

n.	Hazard Weather Procedures

IX.    Hazard Weather Emergency Plan

When a hazardous weather alert is announced by the Plan Coordinator all employees should immediately go to the closest tornado refuge area.  All employees should stay in the tornado refuge area until given the all clear sign from the Plan Coordinator.

The designated tornado refuge area is _____________________.